## Slide 1
Teaching Modules for
Steel Instruction
Advanced Flexure Design
COMPOSITE BEAM THEORY SLIDES
Developed by Scott Civjan
University of Massachusetts, Amherst

## Slide 2
Composite action accounts for the steel beam and floor slab working together to resist bending moments.
Advantages over non-composite design:
Increased strength
Increased stiffness
For given load conditions can achieve:
Less steel required
Reduced steel depth
Composite Beams

## Slide 3
Non-Composite
Slip at Interface
Two Neutral Axes
Mn= Mnconcrete+Mnsteel
I = Iconcrete + Isteel
c
c
c
T
T
NA Steel
NA
Composite
NA Concrete
T
Fully Composite
Assumed no slip at Interface
One Neutral Axis
Mn >> Mnconcrete+Mnsteel
I >> Iconcrete+Isteel
Shear at interface transferred by shear connectors.
3
Composite Beam Theory
Composite Behavior

## Slide 4
Composite Metal Deck Slabs – most commonly used today.
Advantages:
Stay in place form.
Slab shoring typically not required.
Metal deck serves as positive reinforcement.
Metal deck serves as construction platform.
Flat Soffit Slabs – typically, older construction.
Slabs

## Slide 5
beff = effective width of the slab
Function of: Span length
Distance to nearest beam
Distance to edge of slab
s1
s2
s3
beff
edge
edge
Effective Width of Slab
beff

## Slide 6
ts, slab thickness
beff
Flat Soffit Slabs

## Slide 7
7
Composite Beam Theory
beff
hr
tc
Metal Deck Slab - Ribs Parallel to Beam Span
A
A
hr = height of deck
tc = thickness of concrete above the deck
Notes: 7

## Slide 8
beff
hr
A
A
Metal Deck Slab - Ribs Perpendicular to Beam Span
tc

## Slide 9
REFERENCES: COMPOSITE BEAMS
Steel Deck Institute web pages
Nelson Headed Studs web pages
Steel Deck Manufacturer Catalogs
These can be found online

## Slide 10
Slab/Deck Span
Girder
Column
Beam
Typical Framing
PLAN

## Slide 11
INSERT PHOTOS:
AISC Four Story Office Building
Photo Slide Shows
Metal Decking Slides
Shear Studs Slides

## Slide 12
Flexural Strength

## Slide 13
Positive Moment
The strength is determined as the plastic stress distribution on the composite section.
Negative Moment
It typically is assumed that the concrete carries no tensile forces and reinforcement is minimal, therefore strength is identical to a bare steel section.
Flexural Strength

## Slide 14
Fully Composite: The strength of either the floor slab in compression or the steel beam in tension is transferred at the interface.
Partially Composite: The force transfer between the slab and beam is limited by the connectors.
Positive Moment
Flexural Strength

## Slide 15
Lateral Torsional Buckling is prevented by the slab (continuous bracing).
Local Flange Buckling is minimized by the slab.
In general, strength is controlled by Mp.
Flexural Strength
Positive Moment

## Slide 16
INSERT INFORMATION: STRENGTH OF FULLY COMPOSITE BEAM SECTION CALCULATIONS
Handout on Calculations:
FullyCompositeCalcs.PDF

## Slide 17
The bare steel section must support the temporary construction loads (before the concrete has set), or the steel beam must be shored until the composite section is effective.
Flexural Strength

## Slide 18
Shear Transfer Between Slab and Beam
Typically, provided by headed shear studs.
Shear flow, n, is calculated along the interface between slab and beam.
Minimal slip allows redistribution of forces among shear studs. Therefore, studs are uniformly distributed along the beam.
The total shear flow, n, must be provided on each side of Mmax.

## Slide 19
19
Composite Beam Theory
Shear Transfer Between Slab and Beam
Compression Force
Tension Force
Notes: 19

## Slide 20
20
Composite Beam Theory
Shear Transfer Between Slab and Beam
Compression Force
Tension Force
Notes: 20

## Slide 21
21
Composite Beam Theory
Shear Transfer Between Slab and Beam
n = shear flow
Notes: 21

## Slide 22
= shear flow to be transferred by shear studs
V = Shear at the location considered
Q = first moment of inertia of area above the interface
Itr = moment of inertia of the transformed cross section
Shear Transfer Between Slab and Beam

## Slide 23
Consider when fully composite strength is greater than required. This may occur when:
The choice of shape is based on construction loads.
The choice of shape is based on architectural constraints.
The lightest shape has excess strength.
Partially Composite Beam

## Slide 24
INSERT INFORMATION: STRENGTH OF PARTIALLY COMPOSITE BEAM SECTION CALCULATIONS
Handout on Calculations:
PartiallyCompositeCalcs.PDF

## Slide 25
For composite section deflections:
Transform section into equivalent steel section.
Compute center of gravity of transformed section.
Compute Itr of transformed section.
Serviceability

## Slide 26
26
Composite Beam Theory
beff
tc
hr
Composite Beam
beff/n
tc
hr
Transformed Beam
Serviceability
Note:
modular ratio, n = Es/Ec
Notes: 26

## Slide 27
It typically is assumed that the slab carries no shear forces, therefore composite shear strength is identical to that of a bare steel section.
Shear Strength