## Slide 1
Teaching Modules for
Steel Instruction
Beam Design
Developed by Scott Civjan
University of Massachusetts, Amherst

## Slide 2
FLEXURAL MEMBER/BEAM:
Member subjected to bending and shear.
Mb
Vb
Va
Ma
Notes: If also includes axial loads – handle as Beam Column – see Module #3
Typically horizontal members of a frame
Support gravity loads and distribute forces to columns
Also can provide column end restraint, distribute resistance to lateral loads

## Slide 3
INSERT PHOTOS:
Beams and Girders in Structures:
AISC WET Beams and Girders Slide Show
AISC Four Story Office Building
Photo Slide Shows
Structural Steel Erection Slides

## Slide 4
Strength design requirements:
Mu Mn (LRFD) Ma  Mn/Ω (ASD)
Vu  Vn (LRFD) Va  Vn/Ω (ASD)
Also check serviceability (under service loads):
Beam deflections
Floor vibrations
Notes: Note that subscript u= ultimate
n= nominal strength
Note that flexure typically controls strength design. Shear can control for shorter length “Deep Beams”
Longer spans and high live load make deflection and vibrations critical.
Generally design for critical condition independently, check others, revise as needed
Design is iterative.
Module will address each of these criteria separately (moment, shear, serviceability)

## Slide 5
Flexural Strength
Strength Limit States:
Plastic Moment Strength
Lateral Torsional Buckling
Local Buckling (Flange or web)
Notes: Each of these failure modes will be evaluated individually. The lowest strength will control design strength.

## Slide 6
INSERT INFORMATION: FAILURE MODES
Handout on Failure Modes:
buckling modes.PDF
Video:
Behavior of Unrestrained
Steel Beams

## Slide 7
INSERT INFORMATION: FAILURE MODES
Animations:
AISC WET: Beam Buckling
Slide Show:
AISC WET: Lateral Support
Demonstration: AISC Educator Forum–
Beam Buckling Models
Notes: Demonstration available on the AISC Educator Forum (educatorforum.aisc.org)
Beam Buckling Models link: https://educatorforum.aisc.org/resource/asset/1295

## Slide 8
INSERT INFORMATION:
Sample AISC Tables
Table_3-2_pp24-25.PDF
Table_3-3_pp28-29.PDF
Table_3-10_pp110-116.PDF

## Slide 9
INSERT SLIDES: BEAM THEORY
Beam_Theory.ppt
Yield and Plastic Moment
Slides # 3 to 20
Lateral Torsional Buckling
Slides # 21 to 26
Local Buckling
Slides # 27 to 36

## Slide 10
INSERT SLIDES: BEAM DESIGN
Beam_Manual.ppt
Local Buckling Criteria:
Slides # 6 to 10
W-Shape Compact:
Slides # 11 to 23
Notes: Some instructors may decide to only include typical compact W-section beam design.
Notes are also included for advanced topics including non-compact sections, slender web sections, and composite beam design.

## Slide 11
INSERT SLIDES: DESIGN
ADVANCEDBeam_ManualNoncompact.ppt
Advanced Topics
Non-Compact Flange:
Slides # 3-5
Slender Webs:
Slides # 6-14
Notes: Some instructors may decide to only include typical compact W-section beam design.
Notes are also included for advanced topics including non-compact sections, slender web sections, and composite beam design.

## Slide 12
INSERT INFORMATION: COMPOSITE BEAMS
Demonstration: AISC WET Forum –
Composite Beams

## Slide 13
INSERT INFORMATION:
Sample AISC Tables
Table_3-18_pp178-179.PDF
Table_3-19_pp202-203.PDF
Table_3-20_pp210.PDF

## Slide 14
INSERT SLIDES: COMPOSITE BEAM THEORY
ADVANCEDBeam_TheoryComposite.ppt
Advanced Topics
Overview
Slides # 2-11
Moment/Shear Strength
Slides # 12-17 and 23-24
Shear Transfer
Slides # 18-22

## Slide 15
INSERT SLIDES: COMPOSITE BEAM DESIGN
ADVANCEDBeam_ManualComposite.ppt
Advanced Topics
Moment Strength
Slides # 2-11 and 18-23
Shear Stud Strength
Slides # 12-17
Deflections
Slides # 24-28
Notes: Some instructors may decide to only include typical compact W-section beam design.
Notes are also included for advanced topics including non-compact sections, slender web sections, and composite beam design.

## Slide 16
Shear Strength
Failure modes:
Shear Yielding
Inelastic Shear Buckling
Elastic Shear Buckling

## Slide 17
INSERT INFORMATION: SHEAR
Handout on Shear Strength:
shearcalculations.PDF

## Slide 18
INSERT INFORMATION:
Sample AISC Tables
Tables_3-16&_pp151-153.PDF

## Slide 19
INSERT SLIDES: SHEAR THEORY
Beam_Theory.ppt
Shear Strength:
Slides # 37 to 50

## Slide 20
INSERT SLIDES: SHEAR DESIGN
Beam_Manual.ppt
Shear Strength:
Slides # 24 to 28
Notes: Some instructors may decide to only include typical compact W-section beam design.
Notes are also included for advanced topics including non-compact sections, slender web sections, and composite beam design.

## Slide 21
INSERT SLIDES: SHEAR
ADVANCEDBeam_ManualShear.ppt
Advanced Topics
Tension Field Action
Slides #1-7
Notes: Some instructors may decide to only include typical shear yielding of W-section beam design.
Notes are also included for advanced topics including slender web sections with Tension Field action and stiffener design.

## Slide 22
INSERT SLIDES: SHEAR
ADVANCEDBeam_ManualShear.ppt
Advanced Topics
Design of Shear
Stiffeners:
Slides #8-12

## Slide 23
Beam Deflections
Consider deflection for:
serviceability limit state
Camber calculations
Notes: Note that deflections are “serviceability” concern, so No Load factors should be used in calculations.
Camber= curvature applied to a beam during fabrication to allow it to be relatively straight (no deflection) when dead loads are applied (self weight, floor slab) – this allows for a flat floor of consistent depth in a completed structure. Note that this is not an exact process, so camber calculations to the nearest ½ inch are usually sufficient.

## Slide 24
INSERT SLIDES: DEFLECTION
Beam_Theory.ppt
Deflection:
Slides #51-59

## Slide 25
Beam Vibrations
Floor vibrations considerations are important for the serviceability of a structure. Sources of vibrations include movement of people and equipment, vibrating machinery, and other sources.

## Slide 26
INSERT SLIDES: VIBRATION
Beam_Theory.ppt
Advanced Topics
Vibration:
Slides #60-61

## Slide 27
INSERT SLIDES: FATIGUE
ADVANCEDBeam_TheoryFatigue.ppt
Advanced Topics
Fatigue:
Slides # 1 to 15