## Slide 1
Shear in a solid rectangular section
y
h/2
b
h/2
b
h
shear distribution
Compute t at level y of the section:
Where:
This is a parabolic distribution of shear, as shown.
, where y = 0
y
SHEAR

## Slide 2
Observations:
t is very low in the flanges.
Vflange ≈ 1/2(0.6)7.5(0.57)) = 1.3 kips
Vweb = 100 - 2(1.3) = 97.3 kips
For a W-shape most of the shear is carried by the web. Therefore, in the AISC Specification, the shear strength of a W-shape section is calculated based on and effective area equal to the overall depth of the section times the web thickness.
d =18”
bf =7.5”
tf = 0.57”
tw = 0.355”
0.6ksi
13.1ksi
17.8ksi
Shear in a W-Shape
Example: W18x50; V = 100 kips
SHEAR